## Slide 1: IHE-HL7 Gemini MDI SDPi+FHIR – Hanging Gardens Guided Tour
FHIR is a trademark of Health Level 7, International.
SDC is a registered trademark of OR.NET
for
Joint IEEE / HL7 / IHE Working Group Meetings
2021.01.27 (Finalized 2021.02.18)

## Slide 2: Gemini SES MDI using SDPi+FHIR
Gemini SES MDI / SDPi+FHIR – Year 3 Update!
Focus Topic: Do all roads lead to … Devices on FHIR Destination?!
Focus Topic: IHE TF Publications – Accelerating the Evolution
Focus Topic: Is a strategy emerging for Traceability from Use Case Requirements to Conformity Assessment?

## Slide 3: Gemini SES MDI / SDPi+FHIR – Year 3 Update
Actually, longer than that … and a quick look at recent years gives a very positive expectation for this 3rd year of SDPi+FHIR!

## Slide 4: Prehistory: ISO/IEEE 11073 SDC – 15 Year Journey
2004
BMBF Vision SOMIT FUSION / OrthoMIT
Foundation for the idea of interoperability
2004
2010
TekoMed
Feasibility study to prove the SOA approach for medical devices
Dienst-Orientierte OP Integration (DOOP)
Networking project with various medical vendors to implement DPWS and demonstrate interoperability
2011
2013
BMBF-OR.NET
A project funded by the German Ministry of Education and Research to consolidate all medical device interoperability research activities in Germany
2015
OR.NET Consortium
An association of different stakeholders in medical device interoperability
IEEE 11073-20701 Standard approved
Service Oriented Medical Device Exchange Architecture & Protocol Binding
2018
2016
IEEE 11073-20702 Standard approved
Medical Devices Communication Profile for Web Services
IEEE 11073-10207 Standard approved
Domain Information and Service Model for Service-Oriented Point-of-Care Medical Device Communication
2017
NOTE: This roughly parallels the timelines for IHE Devices Domain & HL7 Devices WG

## Slide 5: SDC/SDPi+FHIR: Year 1 (2019) Visioneering
https://www.ihe.net/uploadedFiles/Documents/PCD/IHE_PCD_WP_SDPi_Rev1-1_Pub_2019-11-01.pdf
https://wiki.ihe.net/index.php/SDC@IHE_White_Paper
Year 1 Milestones
  Published SDPi White Paper & Use Case Compendium
  Conference briefings from Germany to North America to Australia & Asia
  IHE SDPi Supplement development approved and initiated
  IHE Devices rebranding / reorganization initiated (at the 15-year anniversary mark!)

## Slide 6: SDC/SDPi+FHIR: Year 2 (2020) The Journey Begins
Year 2 Milestones
  Health Challenges … Everywhere & Everyone
  Tobias & Todd @ HIMSS’20!
  “Layers” Model => Hanging Gardens Model
  Joint HL7-IHE Governance Established in Gemini SES MDI!
  IHE DEV/DPI operationalized / HL7 DEV Rebranded
  ISO/IEC Coordination via TR’s for SES MDI & SES RCC/MH
Multiple Standards / Specifications
Multiple Organizations / SDOs
Multiple Projects / Initiatives
ISO/IEEE 11073 SDC –
“Cathedral” Model
What didn’t exist before 2020.01.01!

## Slide 7: SDC/SDPi+FHIR: Year 2 (2020) The Journey Begins
Year 2 Milestones
  SDPi Supplement Crafting begun in earnest … starting with the profiles framework
  Gemini MDI Community formed
  Coordinated use of HL7 Confluence & IHE Github
  Initial Actors & Transactions defined
  Enhanced Use Case specificity & TF integration + “Silent PoC” detailed
  Initial SDC/BICEPS reporting & alerting mappings for DoF PoCD IG crafted
  MDI SDC Security approach advanced
  1st IHE DE SDC/SDPi Plug-a-thon!
Source: SDPi-P Actor Diagram

## Slide 8: SDC/SDPi+FHIR: Year 2 (2020) The Journey Begins
Year 2 Milestones
  “SES MDI” identified as a foundational concept …
  Integration of MDI technical standards w/ SES Quality & Regulatory process standards …
  Like real-world products do!
  EU “Notified Bodies” discussions advanced & OR.NET position paper published & initial IEEE 11073-10700 PKP standard draft out for review
See OR.NET downloads for papers @ https://ornet.org/en/download/

## Slide 9: SDC/SDPi+FHIR: Year 2 (2020) The Journey Begins
Year 2 Milestones
  New level of requirements management and Conformity Assessment (CA)
  Use of Gherkin & ReqIF evaluated to achieve traceability from use case narratives & scenarios to component product specification & testing
  Goal: CA test reports that can be directly used for regulatory submissions + certification of Plug-and-Trust products

## Slide 10: SDC/SDPi+FHIR: Year 2 (2020) The Journey Begins
Year 2 Milestones
  JHU/APL MDIRA crafts an SDC-based reference implementation
  IHE DEV approves MDIRA Brief Profile Proposal for an SDPi+FHIR based specification
  NOTE: MDIRA motivated definition of Hanging Gardens Framework layer
  And we survived 2020, but with close-to-home heart felt losses: Christophe Fournier & Bill Majurski
Source: JHU/APL MDIRA Update to IEEE/IHE/HL7 DEV WGM 2021.01.25

## Slide 11: SDC/SDPi+FHIR: Year 3 (2021) 1st Summiting!
Year 3 Milestones
  Reach the first summits!
  Publish SDPi Supplement 1.0 (June ‘21), draft 2.0 (December ‘21)
  Publishing 1.0 using emerging IHE tooling (incl. Github repo => HTML)
    Stretch Goal: IHE DEV TF 2021 Edition published from Github
  IHE & HL7 Plug-a-thongs & Connectathons
    Tailored for emerging specifications (virtual & low budget!)
    Regular cadence ~ monthly events
  Use Cases & Demonstrations, including focus on:
    Silent Point of Care (SPoC) / Silent ICU
    Isolation Point-of-Care (IPoC)
  Drafting MDIRA profile supplement
    Initial (80%?) draft … requires coordination w/ SDPi TF
(View from an Isolation Point-of-Care Cockpit …)

## Slide 12: SDC/SDPi+FHIR: Year 3 (2021) 1st Summiting!
Year 3 Milestones
  Requirements Requirements Requirements
    Integration (Gherkin->ReqIF) across Hanging Gardens Layers (at least a few!)
  Tooling Tooling Tooling
    Leverage existing & emerging while advancing next generation support
  Education Education Education
    Must be better at briefing SES MDI using SDC/SDPi+FHIR to all audiences
  Community Community Community
    Must expand the developer/adopter community!
    Must expand engagement of the SES Quality & Regulatory community

## Slide 13: Focus Topic: Do all roads lead to … Devices on FHIR Destination?!
Considerations in light of the HL7 V2-to-FHIR Project

## Slide 14: Devices in FHIR – Multiple paths … Same Destination?
Since DoF launched in 2016 June …
Consider the current paths for device informatics in HL7 FHIR constructs:
  DoF PoCD IG – Maps ISO/IEEE 11073 PoCD (Classic & SDC) + IHE DEV/PCD V2 profiles
    (https://build.fhir.org/ig/HL7/uv-pocd/index.html)
  DoF PHD IG – Maps ISO/IEEE 11073 PHD + IHE DEV / PCH profiles
    (https://build.fhir.org/ig/HL7/PHD/TechnicalImplementationGuidance.html)
  V2-to-FHIR Project – Maps the HL7 V2 specification (across all uses) to FHIR constructs
Question: With these multiple paths … will we end up with a consistent integration of device informatics in HL7 FHIR ecosystems?

## Slide 15: Devices in FHIR – Multiple paths … Same Destination?
Emerging path: HL7 V2-to-FHIR Project
  Project (led by HL7 OO) is nearing in ‘21 ballot … it is real, here & now!
  Project maintained in Github repository: https://github.com/HL7/v2-to-fhir
  Published in HTML a la FHIR: https://build.fhir.org/ig/HL7/v2-to-fhir/
  Observations: Message Mappings VERY similar to DoF IG work (e.g., spreadsheets with 11073 PHD on the left, FHIR on the right)
  Status Notes:
    Limited number of messages (but ORU is included!)
    Pulled from January ‘21 Ballot due to the need to “bake” it some more

## Slide 16: Devices in FHIR – Multiple paths … Same Destination?
At end of 2021 … will all paths lead to the same DoF destination?
  Goal: Consistent integration of device informatics within FHIR-based ecosystems
  HL7-IHE DEV support specifications using V2 messaging, 11073 PoCD & PHD semantics, SDC BICEPS & communications … and FHIR
  SDPi+FHIR includes “SOMDS Connector” bidirectional gateways … including for FHIR
  DoF Implementation guides consistently map 11073 semantics to FHIR resources
  V2-to-FHIR will be baked into products & open source tooling, etc.
  Question: Will the V2-to-FHIR message mappings (esp. for ORU profiles) be consistent with existing HL7-IHE DEV DoF specifications?
    Who / how / when … will this automagically happen? (not a rhetorical question … time to engage is NOW!)

## Slide 17: Focus Topic: IHE TF Publications – Accelerating the Evolution
Oft heard:
  Do we have to keep these monolithic Word / PDF spec documents?
  Can’t we become more like … HL7 FHIR publication in HTML?
  It’s the 20’s … can’t we do better?!

## Slide 18: IHE TF Publications – Accelerating the Evolution
Current state & challenges for IHE Technical Framework Publication
  Goals and Objectives of committee managing IHE use of HL7 IG publisher
  ITI TF Publication rolled out (https://profiles.ihe.net/index.html)
  IHE Publication Project (https://github.com/IHE/publications/)
  IHE “supplement template” project (https://github.com/IHE/supplement-template)
  Status of publishing @ ihe.github.io?
Publication at profiles.ihe.net represents a huge step forward … but …
Does this get us to where we really want to be? How does it compare to the V2+ work?

## Slide 19: IHE TF Publications – Accelerating the Evolution
Consider the analogous HL7 V2+ project
  HL7 V2 is analogous: Word/PDF documents … pain pain pain
  V2+ Project aims to publish V2 in a way very similar to HL7 FHIR
And the Tooling is 1st Class, with our amazing Master Tool Builder: Michael Faughn!
Project repository: https://github.com/HL7/v2-to-fhir
HTML Publication: https://v2plus.hl7.org/2021Jan/index.html

## Slide 20: IHE TF Publications – Accelerating the Evolution
HL7 V2+ Project Review
(note: Non-normative V2 UML model!)
Source: Michael Faughn/Prometheus

## Slide 21: IHE TF Publications – Accelerating the Evolution
HL7 V2+ Project Review
Source: Michael Faughn/Prometheus

## Slide 22: IHE TF Publications – Accelerating the Evolution
HL7 V2+ Project Review
Source: Michael Faughn/Prometheus

## Slide 23: IHE TF Publications – Accelerating the Evolution
HL7 V2+ Project Review
Source: Michael Faughn/Prometheus

## Slide 24: IHE TF Publications – Accelerating the Evolution
HL7 V2+ Project Review
Source: Michael Faughn/Prometheus

## Slide 25: IHE TF Publications – Accelerating the Evolution
The 2021 Path Forward?
  Can we leverage the current ITI publication process (github => IG Builder => HTML)?
  Can we leverage the tooling approach crafted for HL7 V2+ Project? (V2+4IHE!)
  What is the role of tools like NIST IGAMPT? Usable for more than V2-based profiles? Integratable?
  Can we chart a path through 2021 to start with what we CAN do and move to a more robust – SME & User Friendly! – future state?
Discussion:
  See Michael Faughn’s initial “feasibility” study (xml & HTML rendering)
  What would an IHE TF HTML “site” look like?
    Refactoring of IHE TF pages (only dynamically published from github repo’s)
    Integrated specifications like HL7 FHIR (but without the messy IG Builder!)
  What additional markup would we want to include (e.g., ReqIF ready!)
  Include IHE DEV TF 2021 and integrate at https://profiles.ihe.net/index.html?

## Slide 26: IHE TF Publications – Accelerating the Evolution
Discussion:
  Expand & update IHE TF Models to match current & future relationships?
Source: IHE FHIR IG (http://build.fhir.org/ig/IHE/ihe-model-ig/branches/master/intro.html )
Source: 2019 IHE SDPi White Paper

## Slide 27: IHE TF Publications – Accelerating the Evolution
2021.02.10 Update (after ITI Publication Discussion w/ Moehrke)
  Discussion “Takeaways”:
    All efforts are in experiment stages … NOTHING is finalized as “The IHE Approach”
    ITI has (4) Different HTML Publication Approaches: TF vs. White Paper vs. Supplement vs. FHIR-based IHE IG … and they are all “experimental”
    profiles.ihe.net will be used long term for publication of IHE profiles
    ihe.github.io used for “pre-staging” draft content incl. for group review & comment
    “HIE White Paper” created in markdown but the ITI TF FT will be maintained & edited in HTML only
    https://github.com/IHE/publications is where all published content is maintained and, in some cases, managed (e.g., vs. ITI TF FT but not FormatCode which has its own repo)
    ‘22 on … no PDFs!
    Used PanDoc for Word-to-Markdown … OTHER TOOL for Word-to-HTML (ask Martin Smock)
    FSH / Sushi used (https://github.com/FHIR/sushi) for MHD integration with IG Publisher
    See also “gen-html.bat” tool on IUA Supplement (https://github.com/IHE/ITI.IUA)
      For example, may be a one liner script to call PanDoc

## Slide 28: IHE TF Publications – Accelerating the Evolution
2021.02.10 Update (after ITI Publication Discussion w/ Moehrke
  SDPi Pilot Project Next Steps :
    Craft updated IHE TF UML Model that integrates / supports the CA strategy below
    Define a model-aligned set of Word styles that can be leveraged by the V2+ front end tool
    Review the various IHE & V2+ HTML publications look-and-feel to craft a target for SDPi
      IUA would be a preferred starting point (https://profiles.ihe.net/ITI/IUA/index.html)
      ITI TF HTML at profiles.ihe.net
      Consider MHD HTML also (http://build.fhir.org/ig/IHE/ITI.MHD/branches/master/index.html)
    Near Term: Utilize the V2+ tooling for HTML publication
      See gitlab.com/prometheuscomputing/v2fhir
    Longer Term: Move toward the “Standards Editor” WYSIWYG vision for the project, informed by the UML model & SDPi Supplement development & publication
      Word Free & FHIR IG Publisher Free & Markdown/HTML Editing Free … Future
          Note: “free” = Not required but can use if and when appropriate
    OPEN ISSUE: What to do / IF to do for the 2021 IHE Devices FT for HTML Publication … ??
    Schedule regular “IHE Publication Automation” meeting for those advancing pilot projects

## Slide 29: IHE TF Publications – Accelerating the Evolution
Sooner (now!)
Later (’21++)
TF Content Authoring
Prometheus Standards Editor Deluxe
IHE TF UML (+ ReqIF CA) Model
IHE TF Word Styles
TF Content Management
TF Publication
(see preceding V2+ graphic for 2.0 Editor)
IHE Github
(Repos/Projects/Issues)
Ihe/sdpi-fhir
Ihe/dev ???
profiles.ihe.net/DEV/SDPI (html)
www.ihe.net/resources/technical_frameworks/#dev (PDF)
github.com/IHE/publications/DEV
…
V2++Website Generator
V2++ FHIR Resources
V2++ “Editor 1.0”
(special IHE edition!)
ihe.github.io
IHE ReqIF Artifacts
(see subsequent CA slides)
(Word Export to PDF)
(Word .docx )
(MagicDraw)
(Continuous Build)
(Public Comment)
Indicates logical flow (via Github)

## Slide 30: Focus Topic: Is a strategy emerging for traceability from Use Case Requirements to Conformity Assessment?
Gemini SES MDI initiative looks to raise the bar for navigating from detailed use case requirements specifications to CA testing reports that can be used directly for regulatory purposes. Is there a clear strategic path to achieving this … in our lifetime?!

## Slide 31: Use Cases to CA: From vision to reality?
Two key questions:
  Big Picture: Can a course be charted from where we are today … that’s worth embarking on?
and
  Traceability: Can this be achieved in a Hanging Gardens world?

## Slide 32: Charting the course from narratives to interfaces
SDPi+FHIR Grand Vision: Traceability from Narrative/Use Cases to Plug-n-Trust Interfaces!
Each “layer” specifies requirements to be mapped to the next
Each “layer” adds its own set of requirements
Requirements align with safety, effectiveness & security (SES)
NOTE: Null layers allowed but generally required to achieve the SES Plug-n-Trust objective.
Comprehensive System Function Contribution (SFC) Plug-n-Trust Interfaces
/ Ecosystem

## Slide 33: Orientation Tour: From Volume 1 to 2 to 3
SDPi TF Supplement Vol.1 Integration Profiles
  SDPi-P Profile
    Profile Actors & Transactions & Content Modules
    Profile Actor Options
    Profile Overview (Concepts & Use Cases)
    SES Considerations
  SDPi-Reporting Profile …
  SDPi-Alerting Profile …
  SDPi-xControl Profile …
  Appendix A: Requirements Management for Plug-n-Trust Interoperability
  Appendix B: ISO/IEEE 11073 SDC Requirements Coverage
    <including ISO/IEEE 11073 SDC ICS tables>
  Appendix C: Device Point-of-care Interoperability Use Cases
  <including Gherkin detail & links to Compendium etc.>
SDPi TF Supplement Vol.2 Transactions
  DEV-23 Announce Network Presence
  Scope
  Actor Roles & Referenced Standards
  Messages (at BICEPS level w/ links to Appendix A)
  Protocol Requirements
  SES Considerations
  DEV-24 Discover Network Participants
  …
  DEV-44 Invoke Medical Control Services
  Appendix A: ISO/IEEE 11073 SDC / MDPWS Message Specifications (Normative)
  SDC/BICEPS to SDC/MDPWS Message Specifications
  Messages for BICEPS Discovery Model
    <specific MDPWS message links>
    <example exchanges & library calls>
See SDPi Supplement (1.0) document in the IHE sdpi-fhir Github repository for full details.
M:N Profiles & Transactions
MDPWS Message Detail in Appendix
Remember the organization / integration of the SDPi Supplement …

## Slide 34: Requirements: From Use Cases to CA Test Scripts
Consider the following … “From Use Case requirements”
Profile Use Case Requirements Gherkin Feature Files
Use Case Based Profile Test Script(s)
NOTE: TF-2 & TF-3 requirements management not included but would leverage the same approach.
SDPi TF-1
Appendix C MDI Use Cases
Isolation Bed Use Case
  Narrative
  Technical Preconditions (Background)
  Scenario
  Given … When … Then …
Profile <X>
Use Case Bindings / Implementation
Profile Requirements (general)
Appendix B IEEE 11073 SDC ICS Tables
  … <ISO/IEEE 11073-20701 ICS Table w/ SDPi column>
Gherkin to ReqIF Transform
Profile (General Non-Use Case) ReqIF Specification File(s)
SDPi-FHIR Github Repository
Bindings
(M:N)
ReqIF Test Script / Platform Generator
???
Use Case Gherkin Feature Files
1
2
3
4
3
5

## Slide 35: Requirements: From Use Cases to CA Test Scripts
Gazelle Test Management Platform
Consider the following … “to Conformity Assessment”
Profile Test Script(s)
Use Case Based Test Cases
General Requirements Test Cases
Note: Not all Gazelle & Test Platform Tooling capabilities identified.
ReqIF-based IHE TF Product Implementation Profile Specification
SES MDI ReqIF Interface Profiler
[Multi-Layer] Profile ReqIF Specification(s)
(see pre-/post-slides)
SDPi+FHIR Test Execution Platform
CA Test Report
(w/ ReqIF traceability)
SDPi
SOMDS Network
(see NIST Device Profiling Tools)
System Under Test
(SDPi Actor(s))
System Interface Specification (incl. SFC)
(Trust Evidence for Computable Assurance Cases)
Product Test(s) Requirements
Product Test Case Requirements to support CA of claims per SUT Interface Specification

## Slide 36: Layer Characterization: Horizontal & Vertical
Unique Subject Concepts & Components (Terms)
Layer-specific Information & Knowledge (UML models)
Requirements Formalization (Gherkin & ReqIF Spec’s)
Implementation Trust Logic (SES Assurance Case Spec’s)
Layer API & Capabilities & Requirements (Inter-layer Spec’s)
Implementation Technology Logic (MDI Spec’s)
Horizontal
(Intra-Garden Walkways)
Vertical
(Inter-Garden Stairways)
Each Layer Characterized Horizontally
&
Integrated Vertically
Remember from 2020 Hanging Gardens discussion …
How?!

## Slide 37: ReqIF sightings in the gardens …
Note: Though Requirements Interchange Format (ReqIF) does not ensure inter-layer requirements integration out-of-the-box, it is increasingly used and as a result, found supported by many requirements management system tools.
Word to ReqIF
ReqIF to Word

## Slide 38: Requirements: From Use Cases to CA Test Scripts
Consider the following … “Traceability in a Hanging Gardens World”
ReqIF “Layer Mapping” Tool
SDPi + MDIRA Pilots could include:
  General Use Cases (Appendix C)
  “MD-SOA” & MDIRA/ICE Architectures
  IEC 80001-1 2nd Edition
  SDPi+FHIR & MDIRA Profiles
  IEEE 11073-10700 PKP
  IEEE 11073 SDC Core Standards
Layer ReqIF Meta-Model *
(see ReqIF SpecHierarchy Model)
* “ReqIF Meta-Model” will include requirement classification “attributes” / SpecTypes for “user views” and grouping (e.g., func/non-func).
(see preceding slide)
Multi-Layer Profile ReqIF Specification(s)
Inter-Layer Mapping Specification(s)
Layer Requirements Specifications
Implementation / Realization Req’ts
Layer Capabilities “API” Specification
Computable Assurance Case Specification(s)
Requirements Interoperability!

## Slide 39: Requirements: From Use Cases to CA Test Scripts
The 2021 Path Forward?
  What is the best path forward for formalizing capture of these requirements? (one that can be expanded as additional profiles & standards & organizations are integrated)
  How can a “new” IHE TF approach incorporate this level of requirements specification and traceability?
  Should we even bother with a tool like Cucumber Studio? Is there an open source Cucumber/Gherkin “syntax” tool that would be better to use? PROBABLY NOT
    NOTE: Many IDE & editors support “syntax highlighting” for Gherkin
  Is the ReqIF Studio tool needed? Sufficient? PROBABLY NOT
  …

## Slide 40: Yes … there’s more!
Additional information … if the preceding didn’t quench your thirst!

## Slide 41: OMG ReqIF: Base Model
Source: OMG Requirements Interchange Format (ReqIF) Standard
See also: ISO/IEC/IEEE 29148:2011
Systems And Software Engineering - Life Cycle Processes - Requirements Engineering

## Slide 42: ReqIF: Requirement Hierarchies & Relationships
“mapping” between
Source & Target Requirements
Source: OMG Requirements Interchange Format (ReqIF) Standard

## Slide 43: Hanging Gardens: After SDPi 1.0 …
MDIRA ICE Profile
Surgery PoC Profile
NOTE: Profile Titles are notional – hopefully useful too!
ICU PoC Profile
IHE (Official) Profile Types:
  Transport, Content, Workflow
  Or a combination of all (3)
Other types?
  Architecture (SOA, MDIRA, SDC, ….?
  Single domain / multi-domain?
Device Specialization Profile
SOMDS@home Profile
Devices-In-Care (PDP) Profile